## C.tocuchensis +H2O 31.10.15_
OPEN 6.2.5
Fri Oct 30 2015 08:37:50
Unit= | PSC-3679
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Log AvgTime= | 15
Config= | /User/Configs/UserPrefs/2x3_700.xml
Remark= | young plant
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "08:38:22 Flow: Fixed -> 500 umol/s"
Remark= | "08:38:47 Launched AutoProg /User/Configs/AutoProgs/AutoLog"
Remark= | "08:38:50 Lamp: Tracking -> ParOutæm"
Remark= | "08:38:50 CO2 Mixer: CO2R -> 400 uml"
Remark= | "08:38:50 Coolers: Tblock -> 25.00 C"
Remark= | "08:38:50 Flow: Fixed -> 500 umol/s"
1 | 08:48:50 | 704 | 0 | 6.8637 | 0.10391 | 276.629 | 1.0946 | 1.0521 | 25.3892 | 6 | 1.42 | 1 | 2.84 | 25.3333 | 25.3892 | 24.9845 | 400.179 | 391.4298 | 20.9429 | 22.227 | 63.9734 | 67.8967 | 500.0846 | 412.1935 | 412.3261 | 99.0748 | 0.35308 | 0.13356 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83347 | 0.0010946 | 298.5392 | 298.4833 | 65.951 | 0.20172 | 3.2542 | 32.846 | 10.6189 | 25.3612 | 3.2488 | 0.10025 | 2.2021 | 1.0467 | 0.062973 | 27.407 | 0.70671 | 67.9285 | 388.1671 | 0.012011
2 | 08:58:50 | 1304.5 | 0 | 5.7434 | 0.063894 | 240.4346 | 0.73673 | 1.136 | 25.5965 | 6 | 1.42 | 1 | 2.84 | 25.3443 | 25.5965 | 24.9855 | 400.2227 | 392.9842 | 20.9209 | 21.7856 | 63.8681 | 66.508 | 500.0717 | 412.04 | 412.3202 | 99.0801 | 0.35308 | 0.13356 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83345 | 0.00073673 | 298.7465 | 298.4943 | 65.9264 | 0.36154 | 3.2945 | 33.2512 | 11.4655 | 25.4704 | 3.2699 | 0.062488 | 2.1585 | 1.1114 | 0.039179 | 23.8223 | 0.61182 | 65.3228 | 390.2541 | 0.0096136
3 | 09:08:51 | 1905 | 0 | 4.9752 | 0.044685 | 207.5868 | 0.53673 | 1.1755 | 25.6926 | 6 | 1.42 | 1 | 2.84 | 25.3619 | 25.6926 | 24.9856 | 400.2085 | 393.9854 | 20.9471 | 21.5771 | 63.8793 | 65.8003 | 500.0735 | 414.2859 | 413.5768 | 99.0781 | 0.35308 | 0.13356 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83346 | 0.00053673 | 298.8426 | 298.5119 | 66.2858 | 0.45946 | 3.3134 | 33.4419 | 11.8647 | 25.5272 | 3.281 | 0.043993 | 2.1378 | 1.1432 | 0.027557 | 20.5673 | 0.52689 | 64.0829 | 391.6205 | 0.0081411
4 | 09:18:51 | 2505.4999 | 0 | 5.6732 | 0.053066 | 213.5447 | 0.62062 | 1.1479 | 25.6069 | 6 | 1.42 | 1 | 2.84 | 25.3526 | 25.6069 | 24.9856 | 400.2024 | 393.1033 | 20.9583 | 21.6868 | 63.9481 | 66.1696 | 500.1128 | 414.3506 | 413.5681 | 99.0757 | 0.35308 | 0.13356 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83352 | 0.00062062 | 298.7569 | 298.5026 | 66.2961 | 0.42624 | 3.2966 | 33.2732 | 11.5864 | 25.4797 | 3.2718 | 0.052092 | 2.1486 | 1.1231 | 0.032644 | 21.1571 | 0.54323 | 64.8508 | 390.4066 | 0.0094239
5 | 09:28:51 | 3105.9999 | 0 | 5.9391 | 0.057409 | 218.5937 | 0.66417 | 1.1372 | 25.563 | 6 | 1.42 | 1 | 2.84 | 25.343 | 25.563 | 24.9846 | 400.1776 | 392.7389 | 20.9304 | 21.71 | 63.8939 | 66.2734 | 500.086 | 412.9829 | 413.6301 | 99.0687 | 0.35308 | 0.13356 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83348 | 0.00066417 | 298.713 | 298.493 | 66.0773 | 0.40561 | 3.288 | 33.189 | 11.479 | 25.453 | 3.2666 | 0.056272 | 2.1508 | 1.1158 | 0.03527 | 21.6558 | 0.55659 | 65.1417 | 389.9157 | 0.0099223
Remark= | "09:39:07 Flow: Fixed -> 500 umol/s"
6 | 09:39:07 | 3721 | 0 | 2.2901 | 0.022205 | 220.6264 | 0.25804 | 1.1283 | 25.5305 | 6 | 1.42 | 1 | 2.84 | 25.3363 | 25.5305 | 24.9843 | 395.3473 | 392.4781 | 21.4345 | 21.7374 | 65.5151 | 66.3751 | 500.0701 | 413.3819 | 413.1524 | 99.0614 | 0.37603 | 0.14795 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83345 | 0.00025804 | 298.6805 | 298.4863 | 66.1411 | 0.62192 | 3.2816 | 33.1274 | 11.3901 | 25.4334 | 3.2628 | 0.022033 | 2.1533 | 1.1094 | 0.013786 | 21.8556 | 0.56214 | 64.9219 | 391.3895 | 0.0037986
7 | 09:49:07 | 4321.5 | 0 | 6.0585 | 0.060445 | 223.5276 | 0.70487 | 1.1473 | 25.6322 | 6 | 1.42 | 1 | 2.84 | 25.3667 | 25.6322 | 24.9846 | 400.2757 | 392.6745 | 20.9186 | 21.746 | 63.7636 | 66.2869 | 500.0714 | 412.5373 | 413.567 | 99.0623 | 0.37603 | 0.14795 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83345 | 0.00070487 | 298.7822 | 298.5167 | 66.006 | 0.37729 | 3.3015 | 33.3277 | 11.5817 | 25.4995 | 3.2756 | 0.059185 | 2.1542 | 1.1214 | 0.037102 | 22.1432 | 0.56924 | 65.0096 | 389.7946 | 0.010104
8 | 09:59:07 | 4922 | 0 | 5.8914 | 0.05844 | 222.8111 | 0.68021 | 1.1445 | 25.5957 | 6 | 1.42 | 1 | 2.84 | 25.3489 | 25.5957 | 24.985 | 400.1711 | 392.7821 | 20.9035 | 21.7019 | 63.7876 | 66.224 | 500.087 | 414.4884 | 413.701 | 99.0654 | 0.37603 | 0.14795 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83348 | 0.00068021 | 298.7457 | 298.4989 | 66.3181 | 0.39643 | 3.2944 | 33.2544 | 11.5525 | 25.4723 | 3.2703 | 0.057262 | 2.1499 | 1.1204 | 0.035893 | 22.0729 | 0.56726 | 64.999 | 389.9817 | 0.0098192
9 | 10:09:08 | 5522.5 | 0 | 5.7085 | 0.056086 | 221.5887 | 0.65872 | 1.1536 | 25.6116 | 6 | 1.42 | 1 | 2.84 | 25.3521 | 25.6116 | 24.9842 | 400.2263 | 393.0667 | 20.8724 | 21.6456 | 63.6661 | 66.0247 | 500.0901 | 414.0602 | 414.6369 | 99.0429 | 0.37603 | 0.14795 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83348 | 0.00065872 | 298.7616 | 298.5021 | 66.2496 | 0.40509 | 3.2975 | 33.2935 | 11.6478 | 25.4819 | 3.2722 | 0.055 | 2.1438 | 1.1283 | 0.034471 | 21.9468 | 0.56374 | 64.7232 | 390.3531 | 0.0094651
Remark= | "10:13:45 Lamp: Off"
Remark= | "10:13:51 Lamp: ParIn -> 1000 uml"
Remark= | "10:14:17 Flow: Fixed -> 500 umol/s"
10 | 10:15:44 | 5917 | 0 | 5.8901 | 0.055697 | 214.2252 | 0.73763 | 1.2995 | 26.3731 | 6 | 1.42 | 1 | 2.84 | 25.3653 | 26.3731 | 24.985 | 400.2241 | 392.8091 | 20.8428 | 21.7086 | 63.5223 | 66.1604 | 500.0564 | 999.0617 | 411.2593 | 99.0371 | 0.38326 | 0.14576 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.00073763 | 299.5231 | 298.5153 | 159.8499 | 1.3683 | 3.4495 | 34.8301 | 13.1215 | 25.8692 | 3.3482 | 0.054626 | 2.15 | 1.1983 | 0.034236 | 21.2162 | 0.54537 | 61.9768 | 390.0093 | 0.00936
Remark= | "10:15:48 Lamp: ParIn -> 1000 uml"
Remark= | "10:15:48 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:15:48 Coolers: Tblock -> 25.00 C"
Remark= | "10:15:48 Flow: Fixed -> 500 umol/s"
Remark= | "10:15:59 Launched AutoProg /User/Configs/AutoProgs/A-CiCurve2"
Remark= | "10:16:01 Lamp: ParIn -> 1000 uml"
Remark= | "10:16:01 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:16:01 Coolers: Tblock -> 25.00 C"
Remark= | "10:16:01 Flow: Fixed -> 500 umol/s"
Remark= | "10:16:02 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:18:19 Flow: Fixed -> 500 umol/s"
11 | 10:18:40 | 6092.5 | 0 | 5.735 | 0.053288 | 211.3605 | 0.72965 | 1.3422 | 26.5735 | 6 | 1.42 | 1 | 2.84 | 25.4112 | 26.5735 | 24.9852 | 400.2755 | 393.0502 | 20.8336 | 21.6901 | 63.325 | 65.9272 | 500.0582 | 998.7349 | 414.4969 | 99.042 | 0.38677 | 0.14621 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.00072965 | 299.7235 | 298.5612 | 159.7976 | 1.3502 | 3.4905 | 35.2423 | 13.5522 | 25.9923 | 3.3727 | 0.052307 | 2.1482 | 1.2245 | 0.032779 | 20.9336 | 0.53774 | 61.1479 | 390.324 | 0.0089845
Remark= | "10:18:40 CO2 Mixer: CO2R -> 300 uml"
Remark= | "10:20:57 Flow: Fixed -> 500 umol/s"
12 | 10:21:18 | 6250.5 | 0 | 3.9792 | 0.055199 | 172.1903 | 0.76463 | 1.3586 | 26.667 | 6 | 1.42 | 1 | 2.84 | 25.4352 | 26.667 | 24.9858 | 299.7568 | 294.7119 | 20.8216 | 21.7191 | 63.1989 | 65.9222 | 500.0552 | 999.141 | 414.5719 | 99.042 | 0.89584 | 0.15168 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.00076463 | 299.817 | 298.5852 | 159.8626 | 1.323 | 3.5097 | 35.4369 | 13.7179 | 26.0511 | 3.3845 | 0.054147 | 2.1511 | 1.2334 | 0.033935 | 17.0541 | 0.58427 | 60.9103 | 292.8203 | 0.0082773
Remark= | "10:21:18 CO2 Mixer: CO2R -> 200 uml"
Remark= | "10:23:36 Flow: Fixed -> 500 umol/s"
13 | 10:23:57 | 6409.5 | 0 | 2.3258 | 0.062092 | 131.7694 | 0.85167 | 1.3485 | 26.6549 | 6 | 1.42 | 1 | 2.84 | 25.4432 | 26.6549 | 24.9848 | 199.4848 | 196.4933 | 20.7974 | 21.797 | 63.0935 | 66.1243 | 500.0461 | 999.069 | 414.8471 | 99.0407 | 1.1601 | 0.13984 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83341 | 0.00085167 | 299.8049 | 298.5932 | 159.851 | 1.2802 | 3.5073 | 35.4123 | 13.6152 | 26.0491 | 3.3841 | 0.060763 | 2.1588 | 1.2253 | 0.038094 | 13.0505 | 0.67061 | 61.2669 | 195.3877 | 0.007293
Remark= | "10:23:57 CO2 Mixer: CO2R -> 100 uml"
Remark= | "10:26:15 Flow: Fixed -> 500 umol/s"
14 | 10:26:36 | 6568.5 | 0 | 0.3826 | 0.07314 | 87.9708 | 0.98369 | 1.3273 | 26.6134 | 6 | 1.42 | 1 | 2.84 | 25.4421 | 26.6134 | 24.9862 | 99.1519 | 98.5764 | 20.7684 | 21.9228 | 63.0135 | 66.5149 | 500.047 | 998.94 | 414.7698 | 99.0465 | 1.1898 | 0.13495 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83341 | 0.00098369 | 299.7634 | 298.5921 | 159.8304 | 1.2168 | 3.4987 | 35.3237 | 13.4009 | 26.0277 | 3.3798 | 0.071304 | 2.1714 | 1.2084 | 0.044726 | 8.7132 | 0.89241 | 61.9253 | 98.3946 | 0.0024079
Remark= | "10:26:36 CO2 Mixer: CO2R -> 50 uml"
Remark= | "10:28:54 Flow: Fixed -> 500 umol/s"
15 | 10:29:15 | 6728 | 0 | -0.67348 | 0.084608 | 62.8998 | 1.1202 | 1.3119 | 26.6133 | 6 | 1.42 | 1 | 2.84 | 25.4555 | 26.6133 | 24.9874 | 50.3375 | 51.0769 | 20.762 | 22.0764 | 62.9513 | 66.935 | 500.0572 | 999.0418 | 415.1741 | 99.0567 | 1.0254 | 0.13813 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.0011202 | 299.7633 | 298.6055 | 159.8467 | 1.1476 | 3.4987 | 35.32 | 13.2435 | 26.0344 | 3.3811 | 0.082161 | 2.1868 | 1.1943 | 0.051565 | 6.2306 | 1.2315 | 62.5131 | 51.3971 | -0.0081914
Remark= | "10:29:15 CO2 Mixer -> OFF"
Remark= | "10:31:43 Flow: Fixed -> 500 umol/s"
16 | 10:32:04 | 6897 | 0 | -2.0377 | 0.093891 | 35.911 | 1.2256 | 1.2974 | 26.612 | 6 | 1.42 | 1 | 2.84 | 25.4587 | 26.612 | 24.9853 | -1.8492 | 0.59501 | 20.7805 | 22.2185 | 62.9965 | 67.3548 | 500.0273 | 999.208 | 415.0238 | 99.0607 | 0.88786 | 0.13812 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83338 | 0.0012256 | 299.762 | 298.6087 | 159.8733 | 1.0936 | 3.4984 | 35.3159 | 13.0974 | 26.0354 | 3.3813 | 0.090886 | 2.201 | 1.1804 | 0.057066 | 3.5574 | 60.3533 | 63.037 | 1.5636 | -0.82149
Remark= | "10:32:04 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:36:24 Flow: Fixed -> 500 umol/s"
17 | 10:36:45 | 7178 | 0 | 5.6464 | 0.065151 | 244.3281 | 0.89373 | 1.3506 | 26.6721 | 6 | 1.42 | 1 | 2.84 | 25.451 | 26.6721 | 24.9864 | 400.0439 | 392.8477 | 20.7537 | 21.8027 | 62.957 | 66.1432 | 500.0535 | 998.8817 | 414.7818 | 99.0811 | 0.53498 | 0.15535 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83342 | 0.00089373 | 299.8221 | 298.601 | 159.8211 | 1.2566 | 3.5108 | 35.4337 | 13.631 | 26.0616 | 3.3866 | 0.06369 | 2.1602 | 1.2263 | 0.039935 | 24.2083 | 0.62194 | 61.2856 | 390.1636 | 0.0088691
Remark= | "10:36:45 CO2 Mixer: CO2R -> 500 uml"
Remark= | "10:39:02 Flow: Fixed -> 500 umol/s"
18 | 10:39:23 | 7335.5 | 0 | 6.423 | 0.04921 | 271.903 | 0.70273 | 1.3982 | 26.8081 | 6 | 1.42 | 1 | 2.84 | 25.4695 | 26.8081 | 24.9872 | 500.8201 | 492.6989 | 20.782 | 21.6068 | 62.974 | 65.4737 | 500.1109 | 999.4833 | 414.7121 | 99.0826 | -0.12731 | 0.16044 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83352 | 0.00070273 | 299.9581 | 298.6195 | 159.9173 | 1.3409 | 3.539 | 35.7179 | 14.1111 | 26.1388 | 3.4021 | 0.048372 | 2.1409 | 1.2612 | 0.030307 | 26.9408 | 0.55186 | 60.0199 | 489.6457 | 0.0078732
Remark= | "10:39:23 CO2 Mixer: CO2R -> 600 uml"
Remark= | "10:41:40 Flow: Fixed -> 500 umol/s"
19 | 10:42:01 | 7494 | 0 | 7.8348 | 0.046262 | 306.0535 | 0.66449 | 1.4046 | 26.8278 | 6 | 1.42 | 1 | 2.84 | 25.4755 | 26.8278 | 24.9834 | 601.1302 | 591.2582 | 20.8066 | 21.5867 | 63.0157 | 65.3781 | 500.0566 | 999.3929 | 414.5696 | 99.0643 | -0.7907 | 0.15712 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.00066449 | 299.9778 | 298.6255 | 159.9029 | 1.3587 | 3.5431 | 35.7658 | 14.1791 | 26.1516 | 3.4047 | 0.04552 | 2.1385 | 1.2662 | 0.028516 | 30.319 | 0.51763 | 59.8396 | 587.5339 | 0.0079796
Remark= | "10:42:01 CO2 Mixer: CO2R -> 800 uml"
Remark= | "10:44:17 Flow: Fixed -> 500 umol/s"
20 | 10:44:38 | 7650.5 | 0 | 10.101 | 0.044204 | 402.875 | 0.63493 | 1.4034 | 26.8116 | 6 | 1.42 | 1 | 2.84 | 25.4731 | 26.8116 | 24.9845 | 799.9396 | 787.2204 | 20.8241 | 21.5695 | 63.0655 | 65.324 | 500.0718 | 999.7463 | 414.7395 | 99.045 | -2.5196 | 0.15147 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83345 | 0.00063493 | 299.9616 | 298.6231 | 159.9594 | 1.3767 | 3.5398 | 35.7388 | 14.1693 | 26.1423 | 3.4028 | 0.043526 | 2.1364 | 1.2664 | 0.027264 | 39.9028 | 0.51177 | 59.8091 | 782.4189 | 0.0077213
Remark= | "10:44:38 CO2 Mixer: CO2R -> 900 uml"
Remark= | "10:47:16 Flow: Fixed -> 500 umol/s"
21 | 10:47:46 | 7839 | 0 | 8.8291 | 0.029707 | 394.2079 | 0.44113 | 1.4436 | 26.8991 | 6 | 1.42 | 1 | 2.84 | 25.4754 | 26.8991 | 24.9849 | 900.4503 | 889.386 | 20.8311 | 21.3491 | 63.0749 | 64.6458 | 500.0607 | 999.5157 | 414.3488 | 99.0412 | -3.5266 | 0.16544 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.00044113 | 300.0491 | 298.6254 | 159.9225 | 1.4654 | 3.558 | 35.9244 | 14.5753 | 26.1872 | 3.4118 | 0.029399 | 2.1144 | 1.2974 | 0.018402 | 39.0428 | 0.44324 | 58.6641 | 885.1891 | 0.0058513
Remark= | "10:47:46 CO2 Mixer: CO2R -> 1000 uml"
Remark= | "10:50:08 Flow: Fixed -> 500 umol/s"
22 | 10:50:29 | 8002.5 | 0 | 8.4712 | 0.022336 | 362.847 | 0.33796 | 1.4672 | 26.9583 | 6 | 1.42 | 1 | 2.84 | 25.4784 | 26.9583 | 24.986 | 1000.7996 | 990.2337 | 20.8376 | 21.2345 | 63.0881 | 64.29 | 500.0554 | 999.1784 | 414.4118 | 99.0472 | -4.6652 | 0.14886 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.00033796 | 300.1083 | 298.6284 | 159.8685 | 1.5106 | 3.5704 | 36.0474 | 14.8129 | 26.2183 | 3.4181 | 0.022162 | 2.1032 | 1.3149 | 0.013867 | 35.939 | 0.36643 | 58.0257 | 986.2069 | 0.0049842
Remark= | "10:50:29 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "10:52:45 Flow: Fixed -> 500 umol/s"
23 | 10:53:06 | 8159 | 0 | 9.9332 | 0.020563 | 390.9023 | 0.31187 | 1.4698 | 26.9568 | 6 | 1.42 | 1 | 2.84 | 25.4813 | 26.9568 | 24.9841 | 1200.2255 | 1187.8621 | 20.8376 | 21.2039 | 63.0788 | 64.1875 | 500.041 | 999.7233 | 414.0847 | 99.0508 | -7.0152 | 0.14727 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8334 | 0.00031187 | 300.1068 | 298.6313 | 159.9557 | 1.5259 | 3.5701 | 36.0431 | 14.8392 | 26.2191 | 3.4182 | 0.020415 | 2.1003 | 1.318 | 0.012773 | 38.7192 | 0.32908 | 57.9208 | 1183.1403 | 0.0048628
Remark= | "10:53:06 Lamp: ParIn -> 1000 uml"
Remark= | "10:53:06 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "10:53:06 Coolers: Tblock -> 25.00 C"
Remark= | "10:53:06 Flow: Fixed -> 500 umol/s"
Remark= | "11:42:40 CO2 Mixer: CO2R -> 400 uml"
Remark= | "11:42:46 Lamp: ParIn -> 450 uml"
Remark= | "11:44:05 Flow: Fixed -> 500 umol/s"
Remark= | "12:04:03 Lamp: ParIn -> 1000 uml"
Remark= | "12:05:10 Flow: Fixed -> 500 umol/s"
24 | 12:07:06 | 12599.5 | 0 | 4.2718 | 0.03733 | 201.9252 | 0.5399 | 1.4103 | 26.7323 | 6 | 1.42 | 1 | 2.84 | 25.4151 | 26.7323 | 24.9852 | 399.4314 | 394.051 | 20.6962 | 21.3302 | 62.9056 | 64.8321 | 500.0889 | 999.1083 | 427.8188 | 99.0617 | 0.39585 | 0.14433 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83348 | 0.0005399 | 299.8823 | 298.5651 | 159.8573 | 1.4282 | 3.5233 | 35.5664 | 14.2363 | 26.0737 | 3.389 | 0.036846 | 2.113 | 1.276 | 0.023072 | 20.0031 | 0.51243 | 59.3353 | 392.0204 | 0.0064656
25 | 12:07:11 | 12604.5 | 0 | 4.2433 | 0.037259 | 202.8177 | 0.53953 | 1.4119 | 26.741 | 6 | 1.42 | 1 | 2.84 | 25.4172 | 26.741 | 24.9852 | 399.4225 | 394.0761 | 20.6981 | 21.3317 | 62.9035 | 64.8291 | 500.0746 | 999.4174 | 426.2336 | 99.0619 | 0.39585 | 0.14433 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83346 | 0.00053953 | 299.891 | 298.5672 | 159.9068 | 1.4281 | 3.5251 | 35.5846 | 14.2529 | 26.0791 | 3.3901 | 0.036777 | 2.1132 | 1.2769 | 0.023028 | 20.0915 | 0.51467 | 59.307 | 392.0591 | 0.0064189
Remark= | "12:07:18 Launched AutoProg /User/Configs/AutoProgs/A-CiCurve2"
Remark= | "12:07:20 Lamp: ParIn -> 1000 uml"
Remark= | "12:07:20 CO2 Mixer: CO2R -> 400 uml"
Remark= | "12:07:20 Coolers: Tblock -> 25.00 C"
Remark= | "12:07:20 Flow: Fixed -> 500 umol/s"
Remark= | "12:07:21 CO2 Mixer: CO2R -> 400 uml"
Remark= | "12:09:38 Flow: Fixed -> 500 umol/s"
26 | 12:09:59 | 12772 | 0 | 4.5757 | 0.040313 | 203.5897 | 0.58936 | 1.4268 | 26.8337 | 6 | 1.42 | 1 | 2.84 | 25.4395 | 26.8337 | 24.9872 | 400.255 | 394.4856 | 20.6845 | 21.3766 | 62.7785 | 64.8785 | 500.0367 | 999.7192 | 426.6983 | 99.0592 | 0.33848 | 0.15484 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83339 | 0.00058936 | 299.9837 | 298.5895 | 159.9551 | 1.3928 | 3.5443 | 35.7801 | 14.4035 | 26.1366 | 3.4016 | 0.039749 | 2.1175 | 1.2841 | 0.024893 | 20.1674 | 0.51609 | 59.14 | 392.3105 | 0.0068978
Remark= | "12:09:59 CO2 Mixer: CO2R -> 300 uml"
Remark= | "12:12:16 Flow: Fixed -> 500 umol/s"
27 | 12:12:37 | 12930 | 0 | 3.2379 | 0.043596 | 169.7818 | 0.6341 | 1.421 | 26.8277 | 6 | 1.42 | 1 | 2.84 | 25.446 | 26.8277 | 24.9858 | 299.7746 | 295.6645 | 20.6804 | 21.4249 | 62.7334 | 64.9913 | 500.033 | 998.853 | 431.9313 | 99.0497 | 0.90638 | 0.13997 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83339 | 0.0006341 | 299.9777 | 298.596 | 159.8165 | 1.3695 | 3.5431 | 35.7709 | 14.3459 | 26.1368 | 3.4017 | 0.042936 | 2.1221 | 1.2795 | 0.026894 | 16.8168 | 0.57424 | 59.3385 | 294.1253 | 0.0065323
Remark= | "12:12:37 CO2 Mixer: CO2R -> 200 uml"
Remark= | "12:14:54 Flow: Fixed -> 500 umol/s"
28 | 12:15:15 | 13087.5 | 0 | 1.9622 | 0.049368 | 128.5807 | 0.71601 | 1.4196 | 26.8714 | 6 | 1.42 | 1 | 2.84 | 25.4667 | 26.8714 | 24.9861 | 199.4786 | 196.955 | 20.6913 | 21.5319 | 62.6876 | 65.2337 | 500.0466 | 999.3447 | 431.7265 | 99.0467 | 1.1041 | 0.1397 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83341 | 0.00071601 | 300.0214 | 298.6167 | 159.8952 | 1.3245 | 3.5522 | 35.8641 | 14.3322 | 26.1691 | 3.4082 | 0.048524 | 2.1327 | 1.2755 | 0.030402 | 12.7355 | 0.65284 | 59.5598 | 196.0222 | 0.005962
Remark= | "12:15:15 CO2 Mixer: CO2R -> 100 uml"
Remark= | "12:17:33 Flow: Fixed -> 500 umol/s"
29 | 12:17:54 | 13247 | 0 | 0.31458 | 0.055985 | 87.4552 | 0.80375 | 1.4082 | 26.8709 | 6 | 1.42 | 1 | 2.84 | 25.4732 | 26.8709 | 24.9843 | 99.2452 | 98.7724 | 20.7047 | 21.6482 | 62.697 | 65.5518 | 500.0449 | 999.0566 | 431.9962 | 99.0367 | 1.1757 | 0.14679 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83341 | 0.00080375 | 300.0209 | 298.6232 | 159.8491 | 1.2792 | 3.5521 | 35.8667 | 14.2185 | 26.1721 | 3.4088 | 0.054903 | 2.144 | 1.2648 | 0.03441 | 8.6613 | 0.88542 | 59.9727 | 98.6229 | 0.001913
Remark= | "12:17:54 CO2 Mixer: CO2R -> 50 uml"
Remark= | "12:20:14 Flow: Fixed -> 500 umol/s"
30 | 12:20:35 | 13407.5 | 0 | -0.67239 | 0.063282 | 66.5446 | 0.89869 | 1.3961 | 26.8753 | 6 | 1.42 | 1 | 2.84 | 25.4862 | 26.8753 | 24.9837 | 49.8235 | 50.5758 | 20.7289 | 21.7837 | 62.7104 | 65.901 | 500.0576 | 999.1823 | 431.5359 | 99.017 | 1.1112 | 0.15238 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83343 | 0.00089869 | 300.0253 | 298.6362 | 159.8692 | 1.2311 | 3.553 | 35.883 | 14.0992 | 26.1807 | 3.4105 | 0.061903 | 2.157 | 1.2536 | 0.038811 | 6.589 | 1.3157 | 60.423 | 50.8954 | -0.0079826
Remark= | "12:20:35 CO2 Mixer -> OFF"
Remark= | "12:22:51 Flow: Fixed -> 500 umol/s"
31 | 12:23:12 | 13565 | 0 | -1.7306 | 0.067581 | 41.7199 | 0.93934 | 1.3684 | 26.743 | 6 | 1.42 | 1 | 2.84 | 25.4515 | 26.743 | 24.9844 | -1.6868 | 0.38936 | 20.6854 | 21.7879 | 62.6992 | 66.0411 | 500.0497 | 1000.2775 | 426.7642 | 99.0037 | 0.92475 | 0.13785 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83342 | 0.00093934 | 299.893 | 298.6015 | 160.0444 | 1.2257 | 3.5255 | 35.6097 | 13.8218 | 26.0973 | 3.3937 | 0.06601 | 2.1571 | 1.2366 | 0.041394 | 4.1304 | 107.1489 | 60.9672 | 1.212 | -0.87054
Remark= | "12:23:12 CO2 Mixer: CO2R -> 400 uml"
Remark= | "12:27:31 Flow: Fixed -> 500 umol/s"
32 | 12:27:52 | 13845 | 0 | 5.2462 | 0.054116 | 228.523 | 0.77576 | 1.4048 | 26.8183 | 6 | 1.42 | 1 | 2.84 | 25.4599 | 26.8183 | 24.9853 | 400.0714 | 393.4106 | 20.6663 | 21.577 | 62.613 | 65.375 | 500.0605 | 998.9249 | 431.9709 | 99.008 | 0.45527 | 0.14374 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83343 | 0.00077576 | 299.9683 | 298.6099 | 159.828 | 1.2991 | 3.5411 | 35.7662 | 14.1893 | 26.1391 | 3.4021 | 0.053105 | 2.1363 | 1.2658 | 0.03328 | 22.6256 | 0.58088 | 59.9205 | 390.9168 | 0.0080415
Remark= | "12:27:52 CO2 Mixer: CO2R -> 500 uml"
Remark= | "12:30:09 Flow: Fixed -> 500 umol/s"
33 | 12:30:30 | 14003 | 0 | 6.1754 | 0.042818 | 250.3762 | 0.63122 | 1.4391 | 26.9037 | 6 | 1.42 | 1 | 2.84 | 25.4683 | 26.9037 | 24.9848 | 500.7737 | 492.9913 | 20.669 | 21.4101 | 62.5927 | 64.8381 | 500.095 | 999.4309 | 432.0571 | 99.0117 | -0.24392 | 0.15508 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83349 | 0.00063122 | 300.0537 | 298.6183 | 159.9089 | 1.3646 | 3.559 | 35.945 | 14.5348 | 26.186 | 3.4116 | 0.042182 | 2.1199 | 1.2917 | 0.02642 | 24.7902 | 0.50787 | 58.9881 | 490.0558 | 0.0074333
Remark= | "12:30:30 CO2 Mixer: CO2R -> 600 uml"
Remark= | "12:32:51 Flow: Fixed -> 500 umol/s"
34 | 12:33:12 | 14165 | 0 | 7.3378 | 0.039721 | 282.3839 | 0.58891 | 1.4458 | 26.9107 | 6 | 1.42 | 1 | 2.84 | 25.4684 | 26.9107 | 24.9869 | 601.2147 | 591.9918 | 20.6673 | 21.3588 | 62.5834 | 64.6776 | 500.0457 | 998.9227 | 432.4162 | 99.0066 | -0.92898 | 0.14081 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83341 | 0.00058891 | 300.0607 | 298.6184 | 159.8276 | 1.3847 | 3.5604 | 35.9615 | 14.6026 | 26.1895 | 3.4123 | 0.039173 | 2.1147 | 1.2976 | 0.024532 | 27.9579 | 0.47701 | 58.7722 | 588.5038 | 0.007328
Remark= | "12:33:12 CO2 Mixer: CO2R -> 800 uml"
Remark= | "12:35:29 Flow: Fixed -> 500 umol/s"
35 | 12:35:50 | 14323 | 0 | 8.9671 | 0.041272 | 422.0812 | 0.6159 | 1.4556 | 26.9861 | 6 | 1.42 | 1 | 2.84 | 25.4869 | 26.9861 | 24.9854 | 800.0101 | 788.6678 | 20.6987 | 21.4218 | 62.6013 | 64.7878 | 500.0539 | 999.2302 | 432.2494 | 98.9937 | -2.6306 | 0.15991 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83342 | 0.0006159 | 300.1361 | 298.6369 | 159.8768 | 1.3632 | 3.5762 | 36.126 | 14.7041 | 26.2365 | 3.4218 | 0.040681 | 2.1206 | 1.3011 | 0.025478 | 41.7834 | 0.53518 | 58.692 | 784.4053 | 0.0067095
Remark= | "12:35:50 CO2 Mixer: CO2R -> 900 uml"
Remark= | "12:38:12 Flow: Fixed -> 500 umol/s"
36 | 12:38:33 | 14486 | 0 | 8.597 | 0.030277 | 415.2423 | 0.45928 | 1.474 | 26.9805 | 6 | 1.42 | 1 | 2.84 | 25.4661 | 26.9805 | 24.9843 | 900.4866 | 889.6806 | 20.6881 | 21.2275 | 62.6378 | 64.273 | 500.0352 | 1000.388 | 432.2151 | 98.9804 | -3.5255 | 0.1571 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83339 | 0.00045928 | 300.1305 | 298.6161 | 160.0621 | 1.4449 | 3.5751 | 36.1189 | 14.8914 | 26.2233 | 3.4191 | 0.029958 | 2.1011 | 1.318 | 0.018752 | 41.1009 | 0.46673 | 58.0019 | 885.594 | 0.0056306
Remark= | "12:38:33 CO2 Mixer: CO2R -> 1000 uml"
Remark= | "12:40:50 Flow: Fixed -> 500 umol/s"
37 | 12:41:11 | 14644 | 0 | 8.3595 | 0.021566 | 349.641 | 0.33575 | 1.508 | 27.0823 | 6 | 1.42 | 1 | 2.84 | 25.4846 | 27.0823 | 24.9865 | 1001.1166 | 990.6871 | 20.7071 | 21.1014 | 62.6221 | 63.8153 | 500.0506 | 999.1202 | 431.879 | 98.9733 | -4.773 | 0.15785 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83342 | 0.00033575 | 300.2323 | 298.6346 | 159.8592 | 1.4952 | 3.5965 | 36.338 | 15.2366 | 26.2834 | 3.4313 | 0.021403 | 2.0885 | 1.3428 | 0.013391 | 34.6051 | 0.35293 | 57.1553 | 986.7134 | 0.0048422
Remark= | "12:41:11 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "12:43:27 Flow: Fixed -> 500 umol/s"
38 | 12:43:48 | 14800.5 | 0 | 9.1984 | 0.018985 | 389.7175 | 0.29618 | 1.5098 | 27.064 | 6 | 1.42 | 1 | 2.84 | 25.4698 | 27.064 | 24.9853 | 1200.6257 | 1189.1664 | 20.6975 | 21.0454 | 62.6476 | 63.7009 | 500.0585 | 1000.6388 | 431.8211 | 98.9707 | -7.1034 | 0.15829 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83343 | 0.00029618 | 300.214 | 298.6198 | 160.1022 | 1.5192 | 3.5926 | 36.2999 | 15.2546 | 26.2669 | 3.4279 | 0.018859 | 2.0829 | 1.345 | 0.011798 | 38.5706 | 0.32772 | 57.0231 | 1184.7939 | 0.0044271
Remark= | "12:43:48 Lamp: ParIn -> 1000 uml"
Remark= | "12:43:48 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "12:43:48 Coolers: Tblock -> 25.00 C"
Remark= | "12:43:48 Flow: Fixed -> 500 umol/s"
Remark= | "13:20:59 CO2 Mixer: CO2R -> 400 uml"
Remark= | "13:21:02 Lamp: Off"
Remark= | "13:21:12 Lamp: ParIn -> 450 uml"
Remark= | "13:23:49 Flow: Fixed -> 500 umol/s"
Remark= | "13:26:33 Lamp: ParIn -> 1000 uml"
Remark= | "13:29:50 Flow: Fixed -> 500 umol/s"
Remark= | "13:33:17 Flow: Fixed -> 500 umol/s"
39 | 13:33:36 | 17788.5 | 0 | 3.4484 | 0.031366 | 210.3689 | 0.47084 | 1.4587 | 26.8904 | 6 | 1.42 | 1 | 2.84 | 25.4443 | 26.8904 | 24.9855 | 399.6403 | 395.2796 | 20.6461 | 21.1991 | 62.5674 | 64.2451 | 500.0787 | 999.0872 | 420.4098 | 98.9409 | 0.29172 | 0.15088 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83346 | 0.00047084 | 300.0404 | 298.5943 | 159.8539 | 1.4461 | 3.5562 | 35.9425 | 14.7435 | 26.1674 | 3.4078 | 0.031023 | 2.0975 | 1.3104 | 0.01942 | 20.8141 | 0.5322 | 58.2353 | 393.6404 | 0.0051016
40 | 13:33:36 | 17789.5 | 0 | 3.4541 | 0.03128 | 209.5936 | 0.46962 | 1.4589 | 26.8904 | 6 | 1.42 | 1 | 2.84 | 25.4445 | 26.8904 | 24.9853 | 399.6416 | 395.2745 | 20.646 | 21.1976 | 62.5667 | 64.2413 | 500.075 | 999.079 | 420.41 | 98.9408 | 0.29172 | 0.15088 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83346 | 0.00046962 | 300.0404 | 298.5945 | 159.8526 | 1.4467 | 3.5562 | 35.9425 | 14.7449 | 26.1674 | 3.4078 | 0.030939 | 2.0973 | 1.3105 | 0.019367 | 20.7374 | 0.53025 | 58.2298 | 393.6326 | 0.0051097
Remark= | "13:33:42 Launched AutoProg /User/Configs/AutoProgs/A-CiCurve2"
Remark= | "13:33:45 Lamp: ParIn -> 1000 uml"
Remark= | "13:33:45 CO2 Mixer: CO2R -> 400 uml"
Remark= | "13:33:45 Coolers: Tblock -> 25.00 C"
Remark= | "13:33:45 Flow: Fixed -> 500 umol/s"
Remark= | "13:33:45 CO2 Mixer: CO2R -> 400 uml"
Remark= | "13:36:01 Flow: Fixed -> 500 umol/s"
41 | 13:36:22 | 17954.5 | 0 | 3.5131 | 0.031338 | 206.8053 | 0.47116 | 1.4609 | 26.9056 | 6 | 1.42 | 1 | 2.84 | 25.4491 | 26.9056 | 24.9855 | 399.6089 | 395.1706 | 20.6576 | 21.2109 | 62.5804 | 64.2562 | 500.0876 | 998.614 | 425.3074 | 98.9348 | 0.4354 | 0.14623 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83348 | 0.00047116 | 300.0556 | 298.5991 | 159.7782 | 1.4436 | 3.5594 | 35.9768 | 14.766 | 26.1774 | 3.4098 | 0.030996 | 2.0985 | 1.3113 | 0.019403 | 20.4602 | 0.52333 | 58.21 | 393.5006 | 0.0051968
Remark= | "13:36:22 CO2 Mixer: CO2R -> 300 uml"
Remark= | "13:38:39 Flow: Fixed -> 500 umol/s"
42 | 13:39:00 | 18113 | 0 | 2.5545 | 0.034238 | 170.4191 | 0.51153 | 1.453 | 26.8858 | 6 | 1.42 | 1 | 2.84 | 25.4476 | 26.8858 | 24.9857 | 299.9157 | 296.6685 | 20.65 | 21.2508 | 62.5561 | 64.3755 | 500.0522 | 998.806 | 425.381 | 98.9242 | 0.82807 | 0.1432 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83342 | 0.00051153 | 300.0358 | 298.5976 | 159.809 | 1.4255 | 3.5552 | 35.9388 | 14.6881 | 26.1667 | 3.4077 | 0.03383 | 2.1022 | 1.3055 | 0.02118 | 16.8586 | 0.57444 | 58.4285 | 295.4542 | 0.0050518
Remark= | "13:39:00 CO2 Mixer: CO2R -> 200 uml"
Remark= | "13:41:16 Flow: Fixed -> 500 umol/s"
43 | 13:41:37 | 18269.5 | 0 | 1.4358 | 0.040259 | 135.9615 | 0.59912 | 1.4502 | 26.9337 | 6 | 1.42 | 1 | 2.84 | 25.4736 | 26.9337 | 24.9856 | 199.6013 | 197.7364 | 20.6773 | 21.3808 | 62.5414 | 64.6683 | 500.0453 | 999.6797 | 425.5453 | 98.9237 | 1.1663 | 0.14806 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83341 | 0.00059912 | 300.0837 | 298.6236 | 159.9488 | 1.3783 | 3.5652 | 36.0403 | 14.6595 | 26.2036 | 3.4151 | 0.039696 | 2.1151 | 1.3001 | 0.02486 | 13.4498 | 0.68759 | 58.7078 | 197.0539 | 0.0042775
Remark= | "13:41:37 CO2 Mixer: CO2R -> 100 uml"
Remark= | "13:43:54 Flow: Fixed -> 500 umol/s"
44 | 13:44:15 | 18428 | 0 | 0.035095 | 0.049381 | 95.6654 | 0.7206 | 1.4265 | 26.897 | 6 | 1.42 | 1 | 2.84 | 25.4827 | 26.897 | 24.985 | 99.2552 | 99.1274 | 20.695 | 21.541 | 62.5655 | 65.1221 | 500.0627 | 999.8913 | 425.0446 | 98.9296 | 1.1172 | 0.15116 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83344 | 0.0007206 | 300.047 | 298.6327 | 159.9826 | 1.3217 | 3.5576 | 35.9607 | 14.4197 | 26.1899 | 3.4124 | 0.048537 | 2.131 | 1.2813 | 0.03041 | 9.4641 | 0.96508 | 59.4201 | 99.1107 | 0.00021041
Remark= | "13:44:15 CO2 Mixer: CO2R -> 50 uml"
Remark= | "13:46:33 Flow: Fixed -> 500 umol/s"
45 | 13:46:54 | 18586.5 | 0 | -0.78161 | 0.057754 | 71.9134 | 0.81968 | 1.3916 | 26.7751 | 6 | 1.42 | 1 | 2.84 | 25.4621 | 26.7751 | 24.9868 | 50.4188 | 51.3062 | 20.6746 | 21.6368 | 62.5818 | 65.4931 | 500.0496 | 1000.4307 | 424.9861 | 98.9319 | 1.0637 | 0.13496 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83342 | 0.00081968 | 299.9251 | 298.6121 | 160.0689 | 1.2853 | 3.5322 | 35.7029 | 14.0661 | 26.1186 | 3.398 | 0.056603 | 2.1406 | 1.2574 | 0.035479 | 7.1145 | 1.4017 | 60.2479 | 51.6778 | -0.0091124
Remark= | "13:46:54 CO2 Mixer -> OFF"
Remark= | "13:49:09 Flow: Fixed -> 500 umol/s"
46 | 13:49:30 | 18742.5 | 0 | -1.8061 | 0.067036 | 44.014 | 0.94143 | 1.3811 | 26.8053 | 6 | 1.42 | 1 | 2.84 | 25.4878 | 26.8053 | 24.9848 | -1.6204 | 0.54615 | 20.7029 | 21.8078 | 62.5668 | 65.9045 | 500.0431 | 999.3943 | 424.9843 | 98.9244 | 0.75602 | 0.14566 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111105 | 0.83341 | 0.00094143 | 299.9553 | 298.6378 | 159.9031 | 1.2192 | 3.5384 | 35.7692 | 13.9613 | 26.1466 | 3.4036 | 0.06549 | 2.1573 | 1.2463 | 0.041068 | 4.3541 | 80.5895 | 60.738 | 1.4047 | -0.78095
Remark= | "13:49:30 CO2 Mixer: CO2R -> 400 uml"
Remark= | "13:53:49 Flow: Fixed -> 500 umol/s"
47 | 13:54:10 | 19022.5 | 0 | 5.8733 | 0.074255 | 256.0703 | 1.0106 | 1.3421 | 26.6381 | 6 | 1.42 | 1 | 2.84 | 25.4505 | 26.6381 | 24.9885 | 400.2035 | 392.6804 | 20.6642 | 21.8503 | 62.593 | 66.1861 | 500.0736 | 1000.4664 | 424.9936 | 98.9301 | 0.39817 | 0.14268 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83346 | 0.0010106 | 299.7881 | 298.6005 | 160.0746 | 1.2033 | 3.5038 | 35.4167 | 13.5664 | 26.0443 | 3.3831 | 0.072363 | 2.1617 | 1.2215 | 0.045393 | 25.3331 | 0.65211 | 61.5706 | 389.8885 | 0.0092751
Remark= | "13:54:10 CO2 Mixer: CO2R -> 500 uml"
Remark= | "13:56:28 Flow: Fixed -> 500 umol/s"
48 | 13:56:49 | 19182 | 0 | 7.233 | 0.069133 | 311.7588 | 0.95855 | 1.3647 | 26.7212 | 6 | 1.42 | 1 | 2.84 | 25.4636 | 26.7212 | 24.9869 | 500.9902 | 491.7463 | 20.6708 | 21.7958 | 62.5622 | 65.968 | 500.0736 | 999.7963 | 425.126 | 98.9282 | -0.032981 | 0.14299 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83346 | 0.00095855 | 299.8712 | 298.6136 | 159.9674 | 1.2194 | 3.521 | 35.5911 | 13.7953 | 26.0924 | 3.3928 | 0.06749 | 2.1562 | 1.2365 | 0.042326 | 30.8417 | 0.63398 | 61.0428 | 488.3081 | 0.0090419
Remark= | "13:56:49 CO2 Mixer: CO2R -> 600 uml"
Remark= | "13:59:07 Flow: Fixed -> 500 umol/s"
49 | 13:59:28 | 19340.5 | 0 | 8.3317 | 0.064867 | 370.097 | 0.91433 | 1.3852 | 26.802 | 6 | 1.42 | 1 | 2.84 | 25.481 | 26.802 | 24.9828 | 601.3145 | 590.6693 | 20.6874 | 21.7606 | 62.5425 | 65.7882 | 500.0455 | 999.6117 | 424.8954 | 98.9211 | -0.91708 | 0.14818 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83341 | 0.00091433 | 299.952 | 298.631 | 159.9379 | 1.2333 | 3.5377 | 35.7633 | 14.0026 | 26.1415 | 3.4026 | 0.063419 | 2.1526 | 1.25 | 0.039764 | 36.6104 | 0.62657 | 60.5871 | 586.7088 | 0.0086038
Remark= | "13:59:28 CO2 Mixer: CO2R -> 800 uml"
Remark= | "14:01:46 Flow: Fixed -> 500 umol/s"
50 | 14:02:11 | 19503.5 | 0 | 9.8097 | 0.060222 | 507.2281 | 0.85519 | 1.3933 | 26.8101 | 6 | 1.42 | 1 | 2.84 | 25.4776 | 26.8101 | 24.985 | 800.1442 | 787.5647 | 20.6928 | 21.6967 | 62.5707 | 65.607 | 500.0164 | 999.5488 | 420.7623 | 98.9175 | -2.5592 | 0.15108 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83336 | 0.00085519 | 299.9601 | 298.6276 | 159.9278 | 1.2624 | 3.5394 | 35.7818 | 14.085 | 26.1439 | 3.4031 | 0.058972 | 2.1462 | 1.2569 | 0.036968 | 50.1737 | 0.64405 | 60.3131 | 782.9016 | 0.0075572
Remark= | "14:02:11 CO2 Mixer: CO2R -> 900 uml"
Remark= | "14:04:29 Flow: Fixed -> 500 umol/s"
51 | 14:04:50 | 19663 | 0 | 10.2848 | 0.051945 | 549.1339 | 0.74546 | 1.4041 | 26.7914 | 6 | 1.42 | 1 | 2.84 | 25.4548 | 26.7914 | 24.9857 | 900.7726 | 887.6389 | 20.6732 | 21.5483 | 62.5943 | 65.2456 | 500.0746 | 1000.9911 | 421.5169 | 98.9152 | -3.4687 | 0.14501 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83346 | 0.00074546 | 299.9414 | 298.6048 | 160.1586 | 1.3218 | 3.5355 | 35.7432 | 14.1949 | 26.1231 | 3.3989 | 0.051012 | 2.1315 | 1.2675 | 0.031965 | 54.3177 | 0.61865 | 59.8497 | 882.75 | 0.006973
Remark= | "14:04:50 CO2 Mixer: CO2R -> 1000 uml"
Remark= | "14:07:07 Flow: Fixed -> 500 umol/s"
52 | 14:07:28 | 19821 | 0 | 10.7345 | 0.043371 | 566.7777 | 0.63761 | 1.434 | 26.8731 | 6 | 1.42 | 1 | 2.84 | 25.4576 | 26.8731 | 24.9837 | 1000.1009 | 986.4667 | 20.6703 | 21.4189 | 62.5721 | 64.8404 | 500.0719 | 1000.3589 | 420.2323 | 98.9115 | -4.6286 | 0.15124 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83345 | 0.00063761 | 300.0231 | 298.6076 | 160.0574 | 1.3658 | 3.5526 | 35.9167 | 14.4977 | 26.1653 | 3.4074 | 0.042719 | 2.1186 | 1.2888 | 0.026757 | 56.0608 | 0.57455 | 59.0689 | 981.364 | 0.0064612
Remark= | "14:07:28 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "14:09:44 Flow: Fixed -> 500 umol/s"
53 | 14:10:05 | 19977.5 | 0 | 11.1267 | 0.034119 | 637.7701 | 0.50955 | 1.4522 | 26.8758 | 6 | 1.42 | 1 | 2.84 | 25.4459 | 26.8758 | 24.9857 | 1201.0267 | 1186.9509 | 20.6424 | 21.2407 | 62.5309 | 64.345 | 500.0699 | 1000.7463 | 420.1595 | 98.9104 | -6.817 | 0.15467 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83345 | 0.00050955 | 300.0258 | 298.5959 | 160.1194 | 1.4313 | 3.5531 | 35.9228 | 14.6821 | 26.1609 | 3.4065 | 0.033714 | 2.1009 | 1.3056 | 0.021107 | 63.0821 | 0.53732 | 58.4257 | 1181.6618 | 0.0055014
Remark= | "14:10:05 Lamp: ParIn -> 1000 uml"
Remark= | "14:10:05 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "14:10:05 Coolers: Tblock -> 25.00 C"
Remark= | "14:10:05 Flow: Fixed -> 500 umol/s"
Remark= | "14:11:03 CO2 Mixer: CO2R -> 400 uml"
Remark= | "14:11:18 Lamp: ParIn -> 450 uml"

## Graphs
Photo | Cond | Ci | CO2R | CO2 | Photo | Ci | Photo | CO2 | Gs
6.8637 | 0.10391 | 276.629 | 400.179 | 400.2241 | 5.8901 | 214.2252 | 5.8901 | 400.2241 | 0.055697
5.7434 | 0.063894 | 240.4346 | 400.2227 | 400.2755 | 5.735 | 211.3605 | 5.735 | 400.2755 | 0.053288
4.9752 | 0.044685 | 207.5868 | 400.2085 | 299.7568 | 3.9792 | 172.1903 | 3.9792 | 299.7568 | 0.055199
5.6732 | 0.053066 | 213.5447 | 400.2024 | 199.4848 | 2.3258 | 131.7694 | 2.3258 | 199.4848 | 0.062092
5.9391 | 0.057409 | 218.5937 | 400.1776 | 99.1519 | 0.3826 | 87.9708 | 0.3826 | 99.1519 | 0.07314
2.2901 | 0.022205 | 220.6264 | 395.3473 | 50.3375 | -0.67348 | 62.8998 | -0.67348 | 50.3375 | 0.084608
6.0585 | 0.060445 | 223.5276 | 400.2757 | 0 | -2.0377 | 35.911 | -2.0377 | 0 | 0.093891
5.8914 | 0.05844 | 222.8111 | 400.1711 | 400.0439 | 5.6464 | 244.3281 | 5.6464 | 400.0439 | 0.065151
5.7085 | 0.056086 | 221.5887 | 400.2263 | 500.8201 | 6.423 | 271.903 | 6.423 | 500.8201 | 0.04921
|  |  |  | 601.1302 | 7.8348 | 306.0535 | 7.8348 | 601.1302 | 0.046262
|  |  |  | 799.9396 | 10.101 | 402.875 | 10.101 | 799.9396 | 0.044204
5.8901 | 0.055697 | 214.2252 | 400.2241 | 900.4503 | 8.8291 | 394.2079 | 8.8291 | 900.4503 | 0.029707
5.735 | 0.053288 | 211.3605 | 400.2755 | 1000.7996 | 8.4712 | 362.847 | 8.4712 | 1000.7996 | 0.022336
3.9792 | 0.055199 | 172.1903 | 299.7568 | 1200.2255 | 9.9332 | 390.9023 | 9.9332 | 1200.2255 | 0.020563
2.3258 | 0.062092 | 131.7694 | 199.4848
0.3826 | 0.07314 | 87.9708 | 99.1519
-0.67348 | 0.084608 | 62.8998 | 50.3375
-2.0377 | 0.093891 | 35.911 | -1.8492
5.6464 | 0.065151 | 244.3281 | 400.0439
6.423 | 0.04921 | 271.903 | 500.8201
7.8348 | 0.046262 | 306.0535 | 601.1302
10.101 | 0.044204 | 402.875 | 799.9396
8.8291 | 0.029707 | 394.2079 | 900.4503
8.4712 | 0.022336 | 362.847 | 1000.7996
9.9332 | 0.020563 | 390.9023 | 1200.2255
PHOTO | COND | Ci | CO2 | CO2 | PHOTO | Ci | PHOTO | CO2 | COND
4.5757 | 0.040313 | 203.5897 | 400.255 | 400.255 | 4.5757 | 203.5897 | 4.5757 | 400.255 | 0.040313
3.2379 | 0.043596 | 169.7818 | 299.7746 | 299.7746 | 3.2379 | 169.7818 | 3.2379 | 299.7746 | 0.043596
1.9622 | 0.049368 | 128.5807 | 199.4786 | 199.4786 | 1.9622 | 128.5807 | 1.9622 | 199.4786 | 0.049368
0.31458 | 0.055985 | 87.4552 | 99.2452 | 99.2452 | 0.31458 | 87.4552 | 0.31458 | 99.2452 | 0.055985
-0.67239 | 0.063282 | 66.5446 | 49.8235 | 49.8235 | -0.67239 | 66.5446 | -0.67239 | 49.8235 | 0.063282
-1.7306 | 0.067581 | 41.7199 | 0 | 0 | -1.7306 | 41.7199 | -1.7306 | 0 | 0.067581
5.2462 | 0.054116 | 228.523 | 400.0714 | 400.0714 | 5.2462 | 228.523 | 5.2462 | 400.0714 | 0.054116
6.1754 | 0.042818 | 250.3762 | 500.7737 | 500.7737 | 6.1754 | 250.3762 | 6.1754 | 500.7737 | 0.042818
7.3378 | 0.039721 | 282.3839 | 601.2147 | 601.2147 | 7.3378 | 282.3839 | 7.3378 | 601.2147 | 0.039721
8.9671 | 0.041272 | 422.0812 | 800.0101 | 800.0101 | 8.9671 | 422.0812 | 8.9671 | 800.0101 | 0.041272
8.597 | 0.030277 | 415.2423 | 900.4866 | 900.4866 | 8.597 | 415.2423 | 8.597 | 900.4866 | 0.030277
8.3595 | 0.021566 | 349.641 | 1001.1166 | 1001.1166 | 8.3595 | 349.641 | 8.3595 | 1001.1166 | 0.021566
9.1984 | 0.018985 | 389.7175 | 1200.6257 | 1200.6257 | 9.1984 | 389.7175 | 9.1984 | 1200.6257 | 0.018985
PHOTO | COND | Ci | CO2 | CO2 | PHOTO |  |  | CO2 | COND
3.5131 | 0.031338 | 206.8053 | 399.6089 | 399.6089 | 3.5131 | Ci | PHOTO | 399.6089 | 0.031338
2.5545 | 0.034238 | 170.4191 | 299.9157 | 299.9157 | 2.5545 | 206.8053 | 3.5131 | 299.9157 | 0.034238
1.4358 | 0.040259 | 135.9615 | 199.6013 | 199.6013 | 1.4358 | 170.4191 | 2.5545 | 199.6013 | 0.040259
0.035095 | 0.049381 | 95.6654 | 99.2552 | 99.2552 | 0.035095 | 135.9615 | 1.4358 | 99.2552 | 0.049381
-0.78161 | 0.057754 | 71.9134 | 50.4188 | 50.4188 | -0.78161 | 95.6654 | 0.035095 | 50.4188 | 0.057754
-1.8061 | 0.067036 | 44.014 | 0 | 0 | -1.8061 | 71.9134 | -0.78161 | 0 | 0.067036
5.8733 | 0.074255 | 256.0703 | 400.2035 | 400.2035 | 5.8733 | 44.014 | -1.8061 | 400.2035 | 0.074255
7.233 | 0.069133 | 311.7588 | 500.9902 | 500.9902 | 7.233 | 256.0703 | 5.8733 | 500.9902 | 0.069133
8.3317 | 0.064867 | 370.097 | 601.3145 | 601.3145 | 8.3317 | 311.7588 | 7.233 | 601.3145 | 0.064867
9.8097 | 0.060222 | 507.2281 | 800.1442 | 800.1442 | 9.8097 | 370.097 | 8.3317 | 800.1442 | 0.060222
10.2848 | 0.051945 | 549.1339 | 900.7726 | 900.7726 | 10.2848 | 507.2281 | 9.8097 | 900.7726 | 0.051945
10.7345 | 0.043371 | 566.7777 | 1000.1009 | 1000.1009 | 10.7345 | 549.1339 | 10.2848 | 1000.1009 | 0.043371
11.1267 | 0.034119 | 637.7701 | 1201.0267 | 1201.0267 | 11.1267 | 566.7777 | 10.7345 | 1201.0267 | 0.034119
[6 empty] | 637.7701 | 11.1267